SECTION 17100

input/output signal list

# GENERAL

## DESCRIPTION

### This section identifies the project’s Input/Output Signals and their associated attributes.

[Note to Engineer: Fill out the Input/Output Signal List based on the project P&ID’s as part of the Design Process. Once complete, coordinate any required modifications with the District’s PCIS supplier (Systems Integrated) prior to bid.The I/O Signal List can remain as Section 17100, or included as a “Supplement” to Section 17000. If the I/O Signal List is added as a Supplement to 17000, this section should be removed.]

## RELATED WORK SPECIFIED ELSEWHERE

### Section 01810 – Start-Up, Testing and Commissioning

### Section 17000 – General Requirements for I&C System

### Section 17300 – Remote Terminal Unit (RTU/TCP)

### Section 17400 – Control Narrative

[Note to Engineer – Adjust related specification sections to reflect specific project requirements.]

## SUBMITTALS

### The Contractor’s PICI is to prepare an updated version of the Input/Output Signals List, with all attributes identified, for inclusion in the Start-Up, Testing and Commissioning Plan.

## SUPPLEMENTS

### Supplements listed below, following "END OF SECTION" are parts of this Specification:

#### Input/Output Signal List.

END OF SECTION

